Meeting Minutes of the

Northwestern Chester County Municipal Authority

January 22, 2025

The January organizational meeting was called to order by David Eames at 7:00 PM.   The meeting was advertised in the Daily Local News.

Present for roll call were: Mr. Bill Kennedy, Mr. Matt Halvorsen, Mr. David Eames, Mr. Michael Kern and Mr. Eric Olsen.  Absent:  Mr. Bill Ford

A nomination of David Eames for Chairman was made by Mike Kern and seconded by Matt Halvorsen.  There being no further nominations David Eames was elected unanimously.

A motion was made by Matt Halvorsen to nominate Bill Ford for Vice-Chairman, seconded by Eric Olsen.  Motion carried

A motion was made by Matt Halvorsen and seconded by Mike Kern to nominate these persons for the following positions:

1.  Secretary – Mike Kern

2.  Assistant Secretary – Eric Olsen

3.  Treasurer – Bill Kennedy

4.  Assistant Treasurer – Matt Halvorsen

Motion Carried.

A motion was made by Matt Halvorsen and seconded by Mike Kern to retain

Herbert, Rowland and Grubic as engineers for 2025.  Motion carried.

A motion was made by Matt Halvorsen and seconded by Mike Kern to retain

Withum, CPA firm for 2025.  Motion carried.

A motion was made by Matt Halvorsen and seconded by Mike Kern to retain the

following depository(s): Ephrata National Bank, M&T Bank and Bird-in-Hand

Bank.  Motion carried.

A motion was made by Matt Halvorsen and seconded by Mike Kern to retain

Buckley, Brion, McGuire and Morris, LLP as solicitors.  Motion carried.

A motion was made by Matt Halvorsen and seconded by Mike Kern to meet at the

Borough Hall on the 4th Wednesday, each month, at 7 PM, with committee meetings at 6:30 PM.  Motion carried.

Committees were appointed by the chairman.

Personnel:  Dave Eames, Michael Kern & Bill Kennedy

Finance:  Bill Ford, Eric Olsen & Matt Halversen

Operations:  Bill Kennedy, Matt Halvorsen & Eric Olsen

Insurance:  Bill Kennedy, Dave Eames & Michael Kern

Property:  Bill Ford, Eric Olsen & Derek Ink

The regular meeting followed the organizational meeting.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer, Ms. Stephanie Kern, Administrator and Ms. Kristin Camp, Solicitor.

The Assistant Secretary minutes of the December 11th, 2024 meeting were approved on a motion by Matt Halvorsen and seconded by Mike Kern.  Motion carried.

The Treasurer's Report for December 2024 was accepted on motion by Matt Halvorsen and seconded by Eric Olsen. Motion carried.

PUBLIC COMMENTS:    Robert Benedix from Keystone Courts was present.  He

wants the Authority to consider giving him concession on unearthing of the pipe work so that HRG can do an inspection.

CORRESPONDENCE:  There was an email from Ron Martin suggesting that the

Authority invoice customers based on actual usage.

ADMINISTRATOR'S REPORT: Stephanie Kern

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- Daily monthly flow for December averaged 312,000 gallons per day. The discharge monitoring report (EDMR) was submitted to DEP. There were 4 exceptions to the permit, Ammonia Nitrogen average monthly lbs./day 60.2, (limit 40.5 lbs./day), and Ammonia Nitrogen average monthly concentration 30.9 mg/l (limit 8.1 mg/l), total nitrogen average monthly concentration 34.0 mg/l (limit 28.8 mg/l), and total phosphorus monthly average concentration 2.41 mg/l (limit 2.0 mg/l).

- We are now being required by DEP to have our weekly influent samples flow paced over a 24-hour period. In order to do this the purchase of sampler is required. The cost of this sampler to meet DEP’s requirements is $12,895.

- Inspections:

-251, 237, 247 Chastain Drive (Chestnut Ridge)

- 186 Petrelia Drive (Sweetwater Farms)

- Chemical mix tank is now back running, staff installed new motor and using a VFD to control the speed.

- Plant Upgrade:

- Sludge dredging is completed and Merrell Bros is off site

- Pac 2 rehabbed drives around lagoons for truck/equipment access and prep crane pad

- MBBR tank slab is poured and installation of tank walls is to start on January 28.

- Pac 2 completed blower building foundation

- Received aerators and media from Triple Point

- January 8, Veolia completed their assessment of both sand filters. Both sand filters will need rehabbed in order to get them back to proper operating conditions (Last completed in 2003). Staff also received and installed the flyt wash water pump that Whitmer repaired.

- Received pump from Whitmer Motor for Grandstaff pump station. Staff reinstalled the pump and installed new contactor in control panel for pump 2.

- We have been experiencing numerous amounts of power interruptions at the plant, office, and Cupola pump station. We have reached to PP&L with the concerns and issues we have been experiencing. They are now working on a first quarter reliability study on this quadrant of power service.

Received and responded to 66 Pa one calls.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – No Update

.         2.  Act 537 –No Update

3.  Village Greene- Owner is working on punch list.

4.  Honey Brook Estates - No Update.

5.  Pleasant View Welding – Pleasant View Welding has requested that their

letter of credit, in the amount of $73,315.00, be released.  A motion was

made by Eric Olsen and seconded by Mike Kern to release their letter of

credit because their sewer improvements were completed and approved

by HRG.  Motion carried.

6.  Syncarpha- Syncarpha wants two more option years on their lease.  They

will not start their project this year.  A motion was made by Eric Olsen

and seconded by Mike Kern to make the land available to the farmers to

lease for 2025. Motion carried.

7.  Mobile Reality 3/UMH/Honey Ridge –HRG Report

8.  Old Maple Inn Estates – No update.

9.  WWTP upgrade/PennVest loan-HRG Report

10.  Keystone Court- HRG report.

11.  Zook Molasses/Upward Investments – No update

12.  Land acquisition around West Pump Station/upgrade- HRG Report

13.  Twin County Business Park- HRG Report

14.  Arbor’s Glen- No Update

15.  Honey Brook Hardware- No Update.

16.  Tri County Investment Group-No update.

17.  Calvary Church – No Update

18.  Chester County Solid Waste Authority- No update.

NEW BUSINESS:

1.  A motion was made by Matt Halvorsen and seconded by Mike Kern to approve the following invoices for submission to PennVest:

A.  Pact Two LLC for Application #4 for $635,265.13.

B.  Moxie Mechanical LLC for Application #3 for $11,925.00.

C.  HRG, Inc. for $38,143.61.

The Merrell Bros. Applications #2, 3 and 4 for $471,472.54 were also approved which funds are attributed by the Authority not PennVest.

Motion Carried.

2.   A motion was made by Mike Kern and seconded by Bill Kennedy to

approve the following change in order for BSI Electrical which resulted in a total credit of $12,985.00.

A.  Temporary Power to Blower Building – Increase of $27,920.

B.  Additional Disconnects at MBBR Tank – Increase of $11,455.

C.  Relocation of Blower Disconnects – Increase of $3,790.

D.  Wire Material Change – Decrease of $56,150.

That same motion was for the change orders 1, 2 and 3for PACT TWO LLC for the following:

1.  A net increase of $4,356 for the decrease in cost for the access

drive construction and increase in cost of an additional valve

vault.

2.  An increase of $20,744 for the increase in size of the MBBR tank.

3.  An increase of $23,432 for additional labor and material costs to

install three 3 plugs on the influent lines and additional labor for

the excavation for the blower building.

Motion carried.

3.  A motion was made by Mike Kern and seconded by Eric Olsen to accept

the Retainer Agreement from HRG for the project assignment for the West

Pump Station.  Motion Carried.

4.  Matthew Dunn, owner of 207 Cupola Road, wants to abandon 2 EDU’s.

It was decided to table the request until the Authority knows why he wants

to abandon 2 EDU’s.

5.  Dave Eames suggested we send a letter of appreciation to Merrell Bros. for a job well done on the lagoon dredging.

There being no further business to come before the board, a motion was made by   Matt Halvorsen and seconded by Eric Olsen to adjourn the meeting at 8:40 PM. Motion carried.

Respectfully submitted,

Michael Kern
       Secretary