Meeting Minutes of the

Northwestern Chester County Municipal Authority

August 27, 2025

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were: Mr. Bill Ford, Mr. Michael Kern, Mr., Mr. Eric Olsen, Mr. David Eames and Mr. Matt Halvorsen. Absent: Mr. Bill Kennedy.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer, Ms. Stephanie Kern, Administrator and Ms. Kristin Camp, Solicitor.

The minutes of the July 23rd, 2025 meeting were approved on a motion by Eric Olsen and seconded by Matt Halvosen.  Motion carried.

The Treasurer's Report for march was accepted on motion by Matt Halvorsen and seconded by Eric Olsen. Motion carried.

PUBLIC COMMENTS:   Vic Kelly and Scott Risbon were in attendance in regards to the Living God Lutheran Church Property.  There was a discussion about running sewer lines to the property and reservation of capacity for future development.

CORRESPONDENCE: The Giunta reservation of capacity was approved on a motion made by Matt Halvorsen and seconded by Eric Olsen.  Motion carried.

ADMINISTRATOR'S REPORT: Stephanie Kern

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- Daily monthly flow for June averaged 466,000 gallons per day. The discharge monitoring report (EDMR) was submitted to DEP.

- Inspection:

  - Sycamore Drive: 104, 106, 108

  - Ashwood Ct: 306, 309, 311, 313, 315, 317

  - Chestnut Ridge: All homes have been built.

- Received and responded to 81 Pa one calls.

- Plant Upgrade:

- August 8: Substantial completion for all three contracts

- August 20: Final Walk through to go over remaining punch list items for the contractors

- Staff has been learning and adapting to the new process.  Making adjustments to the air when and where necessary.

- PACT completed the process water portion of the contract

- August 19: Start-up was completed

- Office Property:

-Lyons & Hole paved driveway 8/26/2025.

- Staff removed/hauled excess fill offsite

- Need to grade and plant grass seed to close out the permit

- Assisted the township road department in the repair of Dove Drive.

- Staff is currently trying to restore the property from the past year of projects.

- Staff met with HRG on August 20th to discuss the overall plan for smoke testing, and we will start with the Autumn Ridge Development.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – No Update

.         2.  Village Greene- A letter was sent to the Developer stating that the

Authority would not except dedication until the pump station

was in working condition after inspection.

3.  Honey Brook Estates-No Update

4.  Syncarpha- No Update.

5.  Mobile Reality 3/UMH/Struble Ridge – HRG Report.

6.  Old Maple Inn Estates – No update.

7.  WWTP upgrade/PennVest loan-HRG Report

8.  Keystone Court- No Update.

9.  Zook Molasses/Upward Investments – No update

10.  West Pump Station/upgrade-The Water Quality Management permit is

intended on being submitted by HRG the first week in September.

11.  Twin County Business Park- No update.

12.  Arbor Glen – No update.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Calvary Church – No Update

16.  Chester County Solid Waste Authority- No update.

17.  Vernon MacIntyre (3766 Horseshoe Pike) – No Update.

NEW BUSINESS:

- A motion was made by Matt Halvorsen and seconded by Mike Kern to approve the Pact Two, LLC payment #11 in the amount of $229,105.95 for submission to PennVest.  Motion carried.

- A motion was made by Matt Halvorsen and seconded by Mike Kern to approve the Moxie Mechanical payment #10 in the amount of $28,951.00 for submission to PennVest.  Motion carried.

- A motion was made by Matt Halvorsen and seconded by Mike Kern to approve payment #5 for BSI Electric in the amount of $110,437.50 for submission to PennVest.  Motion carried.

- A motion was made by Matt Halvorsen and seconded by Mike Kern to approve the HRG payment #10 for $59,040.92 for submission to PennVest.

Motion carried.

- A motion was made by Matt Halvorsen and seconded by Mike Kern to approve change order #4 for a decrease in cost of $4,888.00 to Pact Two Inc.

for submission to PennVest.  Motion carried.

- The Board reviewed the 2024-2025 budget.

There being no further business to come before the board, a motion was made by   Eric Olsen and seconded by Mike Kern to adjourn the meeting at 8:15 PM. Motion carried.

Respectfully submitted,

Michael Kern
       Secretary