Meeting Minutes of the

Northwestern Chester County Municipal Authority

September 24, 2025

The meeting was called to order by Vice Chairman William Ford at 7:00 PM.

Present for roll call were: Mr. Bill Ford, Mr. Michael Kern, Mr. Eric Olsen, Mr. Bill Kennedy. Absent: Mr. Matt Halvorsen and Mr. David Eames.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer, Ms. Stephanie Kern, Administrator and Ms. Kristin Camp, Solicitor.

The minutes of the August 27th, 2025 meeting were approved on a motion by Eric Olsen and seconded by Bill Kennedy.  Motion carried.

The Treasurer's Report for August was accepted on motion by Mike Kern and seconded by Eric Olsen. Motion carried.

PUBLIC COMMENTS:  Matthew Welch was in attendance from the Elverson-Honey Brook Area EMS to discuss the possibility of putting a new ambulance building on the Authority’s property at 3641 Horseshoe Pike.

Steve Cohn from Syncarpha Solar was in attendance to discuss and ask for the Board’s approval on various agreements.

CORRESPONDENCE: A thank you letter was received from the Burlington County Animal Shelter for the donation made in memory of Patrick Quinn.

ADMINISTRATOR'S REPORT: Stephanie Kern

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- Daily average flow for August averaged 333,000 gallons per day. The discharge monitoring report (EDMR) was submitted to DEP.

- Received and responded to 73 Pa one calls.

- Met with Pa rural water September 8 to discuss smoke testing assistance. The cost for them to help and use their equipment is free, except for the cost of the smoke. We scheduled the week of October 13-17 for testing in the Cupola P.S basin.

- Staff met with HRG to discuss operation of the upgrade, as well as seasonal changes, sampling and data to collect and record.

- Staff and HRG met with Vic Kelly and Scott Risbon regarding the Lutheran Church property development and the possibility of building a new pump station for their development and to redirect flow from Grandstaff pump station to their new station and constructing a new force main to the plant.

- Staff replaced and repaired riser rings and manhole lids on Park Street before the road was repaved the week of September 22.

- Plant upgrade:

-Final completion of the upgrade is October 8

- Pac 2 is working on restoration, grading, and seeding excavation sites and other misc items.

-BSI installed plant generator, and switch gear, along with pull wire. PPL pulled new wire for service, and is installing their new equipment required for the new power service.

- Started to receive materials for the sand filter rehabilitation.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – No Update.

.         2.  Village Greene- No Update.

.         3.  Honey Brook Estates-No Update

4.  Syncarpha-A motion was made by Eric Olsen and seconded by Mike

Kern to authorize Bill Ford to sign the following agreements for the

Syncarpha Solar project:  The Decommissioning Agreement, Amended

& Restated Memorandum of Lease Option Agreement, Lessor Estoppel

Certificate, Land Development Improvement, Financial Security and

Maintenance Agreement & the Stormwater Best Management Practices

and Conveyances Operation and Maintenance Agreement.  Motion

carried.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Old Maple Inn Estates – 2nd review is being done by HRG.

7.  WWTP upgrade/PennVest loan-HRG Report

8.  Keystone Court- HRG report.

9.  Zook Molasses/Upward Investments – No update

10.  West Pump Station/upgrade-The Water Quality Management permit is

intended on being submitted by HRG the first week in September.

11.  Twin County Business Park- No update.

12.  Arbor Glen – No update.

13.  Honey Brook Hardware- There was a discussion about an extra EDU for

the property.

14.  Tri County Investment Group-No update.

15.  Calvary Church – No Update

16.  Chester County Solid Waste Authority- No update.

17.  Vernon MacIntyre (3766 Horseshoe Pike) – HRG report.

18.   Lutheran Church Property – HRG report.

NEW BUSINESS:

- A motion was made by Eric Olsen and seconded by Mike Kern to approve the Pact Two, LLC payment #12 in the amount of $227,001.60 for submission to PennVest.  Motion carried.

- A motion was made by Eric Olsen and seconded by Mike Kern to approve the HRG payment #11 for $19,279.34 for submission to PennVest.

Motion carried.

- The Board approved the 2024-2025 budget on a motion made by Mike Kern and seconded by Eric Olsen.  Motion Carried.

There being no further business to come before the board, a motion was made by   Eric Olsen and seconded by Mike Kern to adjourn the meeting at 8:45 PM. Motion carried.

Respectfully submitted,

Michael Kern
       Secretary