Meeting Minutes of the

Northwestern Chester County Municipal Authority

October 22, 2025

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were:  Mr. Eric Olsen, Mr. Bill Kennedy, Mr. David Eames and Mr. Bill Kennedy. Absent: Mr. Bill Ford and Mr. Mike Kern.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer, Ms. Stephanie Kern, Administrator and Ms. Kristin Camp, Solicitor.

The minutes of the September 24th, 2025 meeting were approved on a motion by Eric Olsen and seconded by Matt Halvorsen.  Motion carried.

The Treasurer's Report for September was accepted on motion by Matt Halvorsen and seconded by Eric Olsen. Motion carried.

PUBLIC COMMENTS:  Greg Graham was in attendance from Honey Brook Estates.

CORRESPONDENCE: There was a letter from Buckley Brion McGuire & Morris LLP for appointment as solicitor for 2026.

ADMINISTRATOR'S REPORT: Stephanie Kern

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- Daily average flow for September averaged 291,000 gallons per day. The discharge monitoring report (EDMR) was submitted to DEP.

- Received and responded to 64 Pa one calls.

- Office property is graded and seeded now ready for final inspection for demolition permit close out.

- The week of October 13-17, smoke testing was conducted. Testing found only a few issues of inflow from defective pipe.

- October 23 Dep will be conducting their annual inspection of the plant.

- Plant upgrade:

-Pac 2 pulled all equipment off site and completed restoration of the plant site

-BSI now has plant power being fed from new switch gear in the blower building. When PPL exsisting transformer and meter BSI can demo the old switch gear and electrical equipment in the plant MCC.

- Have been continuing to work with HRG on West pump station upgrade.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – No Update.

.         2.  Village Greene- No Update.

.         3.  Honey Brook Estates- A motion was made by Eric Olsen and seconded

by Matt Halvorsen to accept and have the Chairman sign the

Maintenance Security Agreement.  Motion carried.

4.  Syncarpha- A motion was made by Matt Halvorsen and seconded by

Bill Kennedy for approval to Grant Right of Way for PPL.  Motion

carried.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Old Maple Inn Estates – No update.

7.  WWTP upgrade/PennVest loan-HRG Report

8.  Keystone Court- No Update.

9.  Zook Molasses/Upward Investments – No update.

10.  West Pump Station/upgrade- HRG Report.

11.  Twin County Business Park- No update.

12.  Arbor Glen – No update.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Calvary Church – No Update

16.  Chester County Solid Waste Authority- No update.

17.  Vernon MacIntyre (3766 Horseshoe Pike) –No update.

18.   Lutheran Church Property – HRG report.

NEW BUSINESS:

- A motion was made by Matt Halvorsen and seconded by Eric Olsen to approve the Pact Two, LLC payment #13 in the amount of $102,862.00 for submission to PennVest.  Motion carried.

- A motion was made by Matt Halvorsen and seconded by Eric Olsen to approve the HRG payment for Invoice #198482 for a partial amount of $20,833.24 for submission to PennVest.  Motion carried.

- A motion was made by Matt Halvorsen and seconded by Eric Olsen to cancel the November’s Board meeting and move the December meeting to December 10th, 2025.  Motion carried.

- A request was made by Ricky Miller to release the escrow in the amount of $5,000.00 for 935 Chestnut Street.  Escrow is released 18 months after the project is finished.  It has only been a year; therefore, it was decided not to release the escrow until it has been 18 months.

- There was a discussion about the 2023 audit discrepancy on the fixed assets.      A motion was made by Matt Halvorsen and seconded by Bill Kennedy to let Herbien find and correct the amounts at an additional cost to the Authority.  Motion carried.

- A motion was mad by Matt Halvorsen and seconded by Eric Olsen to approve the BSI Payment #7 for $302,812.50 for submission to PennVest.  Motion Carried.

- There is a correction of the minutes from May, June, July & August for the

approval of the appropriate month’s Treasurer’s report.

There being no further business to come before the board, a motion was made by   Eric Olsen and seconded by Bill Kennedy to adjourn the meeting at 8:00 PM. Motion carried.

Respectfully submitted,

Eric Olsen
       Assistant Secretary