Meeting Minutes of the

Northwestern Chester County Municipal Authority

February 25, 2026

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were:  Mr. Bill Ford, Mr. Mike Kern, Mr. David Eames and Mr. Matt Halvorsen. Absent: Mr. Eric Olsen and Mr. Bill Kennedy.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer, and Ms. Kristin Camp, Solicitor.

The minutes of the January 28th, 2026 meeting were approved on a motion by Matt Halvorsen and seconded by Bill Ford.  Motion carried.

The Treasurer's Report for January was accepted on motion by Matt Halvorsen and seconded by Bill Ford. Motion carried.

PUBLIC COMMENTS:  None

CORRESPONDENCE: 1) Cindy Bailey’s lawn mowing quote for 2026. 2) Penn Wynne Homes request for release of financial security.

ADMINISTRATOR'S REPORT: Stephanie Kern: absent

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- The discharge monitoring report (EDMR) for January was submitted to DEP. The were no violations or exceptions to the permit. Average flow for January averaged 302,000 gallons.

- Received and responded to 43 Pa one calls.

- 221 Suplee Road was inspected by Technicon at our request. Lines were pressure tested when installed, grinder pump discharges into existing line in basement of house. The board decided to have the

grinder pump connection exposed to inspect the connection in the spring.

- Approval for Pipe Data View scheduling for spring cctving and cleaning. -  Approval for Pipe Data tving was made on a motion by

Mike Kern and seconded by Bill Ford.  Motion carried.

- Plant Upgrade:

-nitrification upgrade is operating with excellent nh3 results, with a effluent out of the mbbr tank of <.1.

- Sand Filter Rehab:

- demolition of old filter parts has been complete

- new porous plates have been installed and sealed

- new media has been installed

-trolly rail caps are being installed

- new c channel bracket is needed on both filters due to corrosion

- filter 1 backwash assembly is getting replaced due to corrosion

- staff will perform all wiring required

-Approval for replacement of backwash pump and piping c channel support and installation of new drain valves in each sand filter for $39,631.- Approval for an emergency repair was made on a motion made by Bill Ford and seconded by Matt Halvorsen.  Motion carried.

- Chapter 94 report will be worked on and completed for end of March due date.

- Hach dr3900 spectrometer purchase for $5,246.  Approval for a spectrometer purchase was made by a motion from Matt Halvosen and seconded by Mike Kern.  Motion carried.

- An engineer for the property at 2150 Horseshoe Pike has been reaching out, asking about our process for a sewer extension for 17 edu’s on the property.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – No Update.

.         2.  Village Greene- Pump station testing is needed.

.         3.  Honey Brook Estates- No update.

4.  Syncarpha- No Update.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Old Maple Inn Estates – Reservation of capacity is requested.

7.  WWTP upgrade/PennVest loan-HRG Report

8.  Keystone Court- Financial security release

9.  Zook Molasses/Upward Investments – No update.

10.  West Pump Station/upgrade- HRG Report.

11.  Twin County Business Park- No update.

12.  Arbor Glen – No update.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Chester County Solid Waste Authority- No update.

16.  Vernon MacIntyre (3766 Horseshoe Pike) –No update.

17.   Lutheran Church Property – HRG report.

NEW BUSINESS:

- A motion was made by Bill Ford and seconded by Matt Halvorsen to approve the Pact Two, LLC payment #14 in the amount of $15,000.00 for submission to PennVest.  Motion carried.

- A motion was made by Mike Kern and seconded by Bill Ford to approve Cindy Bailey’s lawn mowing quote for 2026.  Motion carried.

- A motion was made by Bill Ford and seconded by Mike Kern to start the bidding process as soon as the land development is approved for the West Pump Station.  Motion carried.

- There was a motion made by Matt Halvorsen and seconded by Mike Kern to release security funds in the amount of $50,340.00 pending that all the funds to the Authority have been paid.  Motion carried.

- A motion was made by Bill Ford and seconded by Matt Halvorsen to approve

the NextEra Energy agreement for the new meter at the plant.  Motion carried.

- A motion was made by Matt Halvorsen and seconded by Bill Ford to approve the BSI Payment #8 for $183,450.75 for submission to PennVest.  Motion Carried.

- There was a discussion about revising Resolution 2024-16 for reservation of

capacity in the Cupola Pump Station service area.

There being no further business to come before the board, a motion was made by   Matt Halvorsen and seconded by Mike Kern to adjourn the meeting at 8:15 PM. Motion carried.

Respectfully submitted,

Michael Kern
       Secretary