Meeting Minutes of the

Northwestern Chester County Municipal Authority

March 25, 2026

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were:  Mr. Bill Ford, Mr. Mike Kern, Mr. David Eames, Mr. Eric Olsen and Mr. Bill Kennedy. Absent: Mr. Matt Halvorsen.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer,  Ms. Kristin Camp, Solicitor and Ms. Stephanie Kern, Administrator.

The minutes of the February 25th, 2026 meeting were approved on a motion by Eric Olsen and seconded by Bill Kennedy.  Motion carried.

The Treasurer's Report for February was accepted on motion by Mike Kern and seconded by Eric Olsen. Motion carried.

PUBLIC COMMENTS:  None

CORRESPONDENCE: None

ADMINISTRATOR'S REPORT: Stephanie Kern: The Act 205 report is finished.

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- The discharge monitoring report (EDMR) for February was submitted to DEP. Influent flow averaged 337,000gallons for the month. There was one exception to the NPDES permit for total nitrogen monthly concentration. (limit 28.8 mg/l, result 37.5 mg/l)

- Received and responded to 43 Pa one calls.

- Inspections:

- Honey Ridge (113 total edu’s) 6 inspections (25 of 50 permits issued)

Received repaired pumps from Whitmer Motor for Cambridge Run and Brandywine Preserve pump stations. Both pumps were installed and put back into service.

- Pipe Data View is scheduled for the week of April 20.

- Sand Filter Rehab is complete with Veolia starting up the filters on March 10.

- Chapter 94 report will be submitted 3/26/26 before 3/31/26 deadline. For 2025 the annual average flow averaged 346,000 gallons per day, annual average organic loading of 548 Lbs/day, and  2,413 Edu’s connected to the system. There is no existing overloads present, nor is there projected to be a hydraulic or organic overload within the next 5 years.

- Received application, review fee, and plans for Arbors Glen Development. (170 Edu’s)

- Aerzen blowers were serviced, and inspected.

- Thaddeus Stevens Tech school had there annual tour of the plant 3/19, Honey Brook Christian Academy reached out about taking a tour as well, and we scheduled them for 3/30.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – No Update.

2.  Village Greene- Pump station testing is needed.

3.  Honey Brook Estates- No update.

4.  Syncarpha- No Update.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Maple Inn Estates – Reservation of capacity was approved on a

motion made by Mike Kern and seconded by Eric Olsen. Motion Carried.

7.  WWTP upgrade/PennVest loan-1) There was a motion made by Mike

Kern and seconded by Eric Olsen to close out the PennVest loan rather

than being reimbursed by PennVest for the reduction in construction

costs of $179,352.37.  Motion carried.  2)  There was a motion made by

Eric Olsen and seconded by Bill Kennedy to pay the PennVest vendors

out of Authority’s funds and to be reimbursed at a later date by

PennVest.  Motion carried.

8.  Keystone Court- No Update.

9.  Zook Molasses/Upward Investments – No update.

10.  West Pump Station/upgrade- HRG Report.

11.  Twin County Business Park- No update.

12.  Arbor Glen –170 EDU’s- HRG Report.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Chester County Solid Waste Authority- No update.

16.  Vernon MacIntyre (3766 Horseshoe Pike) –No update.

17.   Lutheran Church Property – 69 EDUs - HRG report.

18.   Guinta Property-No Update.

19.   288 Suplee Road – No update

20.   Hammell O’Donnell – 10 Lots –14 EDUs reserved

NEW BUSINESS:

- A motion was made by Mike Kern and seconded by Eric Olsen to approve Resolution 2026-1:  Amendment to the policy for the allocation of the remaining sewer capacity in the Cupola Pump Station service area.  Motion Carried.

- The amendment to the lease agreement between the Authority and the Township for automatic renewal was tabled until the next meeting.

- There was a discussion about the possibility of moving the house on the Devine property.  It was decided to tear it down for the West Pump Station upgrade.

- A motion was made by Bill Ford and seconded by Bill Kennedy for payment

to Pact Two in the amount of $161,224.00 for completion of the sand filter rehabilitation.  Motion Carried.

There being no further business to come before the board, a motion was made by   Mike Kern and seconded by Bill Kennedy to adjourn the meeting at 8:00 PM. Motion carried.

Respectfully submitted,

Michael Kern
       Secretary