Meeting Minutes of the

Northwestern Chester County Municipal Authority

April 22, 2026

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were:  Mr. Mike Kern, Mr. David Eames and Mr. Eric Olsen Absent: Mr. Matt Halvorsen, Mr. Bill Kennedy and Mr. Bill Ford.  There was not enough Board Members in attendance to make a quorum, therefore no major decisions could be made.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer,  Ms. Kristin Camp, Solicitor and Ms. Stephanie Kern, Administrator.

The minutes of the March 22nd, 2026 meeting could not be approved.

The Treasurer's Report for March could not be approved.

PUBLIC COMMENTS:  None

CORRESPONDENCE: Letter from Hammell O’Donnell requesting reservation of

capacity for an additional 20 EDUs.

ADMINISTRATOR'S REPORT: Stephanie Kern: The check detail report, since

the QuickBooks conversion to online, has been missing ach debits. (Caught by the auditors) This has been corrected.  If any of the board members would like to view the past ach debits, please come to the office and I will run a report or you can view them on the computer.

SOLICITOR’S REPORT:   Kristin Camp:  There was a discussion about amending the reservation of sewer capacity in the Authority’s Rules and Regulations.

OPERATOR'S REPORT: Derek Ink

- March daily Influent flow averaged 409,000 gallons per day. The discharge monitoring report (EDMR) for March was submitted to DEP with no exceptions to the permit.

- Received and responded to 71 Pa one calls.

- Inspections:

- 327,329,333,335,337 Ashwood Ct (UMH, Honey Ridge)

-4430 Horseshoe Pike repair (Borough)

Pipe Data View is inspecting sections of the collection system this week.

- Have been working on cleaning up plant and office grounds from last fall. (reseeding office where barn was, and where plant construction occurred).

- 4/17 during daily inspection of West, saved pump 1 from burning up and needing pulled for repair. Was able to prop check valve of pump 1 open while running pump 2 to clear the blockage.

- Re-balance aeration system in primary lagoons 1 and 2 to get more air distributed to them to raise dissolved oxygen.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – HRG Report

2.  Village Greene- Pump station testing is needed.

3.  Honey Brook Estates- No update.

4.  Syncarpha- Project is to begin late summer/early fall.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Maple Inn Estates – HRG Report

7.  WWTP upgrade/PennVest loan-HRG Report.

8.  Keystone Court- No Update.

9.  Zook Molasses/Upward Investments – No update.

10.  West Pump Station/upgrade- HRG Report.

11.  Twin County Business Park- No update.

12.  Arbor Glen –170 EDU’s- HRG Report.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Chester County Solid Waste Authority- No update.

16.  Vernon MacIntyre (3766 Horseshoe Pike) –No update.

17.   Lutheran Church Property – 69 EDUs - HRG report.

18.   Guinta Property-No Update.

19.   288 Suplee Road – No update

20.   Hammell O’Donnell – 10 Lots –14 EDUs reserved

NEW BUSINESS:

- Wagon Wheel Estates has a sewer issue that needs to be addressed. A

letter was sent to the owner/manager.

- Approval was given for escrow release for 935 Chestnut Street.

- The amendment of the lease agreement with the Township for the

property beside the office was tabled until the next meeting.

There being no further business, the meeting was adjourned at 7:45 pm.

Respectfully submitted,

Michael Kern
       Secretary