Meeting Minutes of the

Northwestern Chester County Municipal Authority

May 27, 2026

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were:  Mr. Mike Kern, Mr. David Eames, Mr. Eric Olsen and Mr. Bill Kennedy.  Absent: Mr. Matt Halvorsen and Mr. Bill Ford.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer,  Ms. Kristin Camp, Solicitor and Ms. Stephanie Kern, Administrator.

The minutes of the March 22nd & April 22nd, 2026 meetings were approved on a motion made by Eric Olsen and Bill Kennedy.  Motion carried.

The Treasurer's Report for March & April was approved on a motion made by Mike Kern & Eric Olsen.  Motion carried.

PUBLIC COMMENTS:  None

CORRESPONDENCE: None

ADMINISTRATOR'S REPORT: Stephanie Kern: There has been a lot of NSF checks and ACH Debit returns this past quarter.

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- April daily Influent flow averaged 333,000gallons per day. The discharge monitoring report (EDMR) for March was submitted to DEP with no exceptions to the permit.

- Received and responded to 72 Pa one calls.

- Owner of Wagon Way Estates responded to our letter that was sent to them regarding defective pipe in the mobile home park.

- Contacted Pipe Data View about point repairs needed that were found during CCTV inspection.

- April 25, West pumping station dialer called us out for an emergency. After inspecting and diagnosing a number of components, it was determined that the main level control relay failed. The relay was intermittently working, running pumps dry, not turning the pump on when called to run, and failing to alternate. After replacing the relay, the controller was operating the station as it should.

- Repaired tractor loader hydraulic line and loader operation.

- Staff trimmed and cleared overgrown trees around plant fence.

- Staff replaced failed flex coupler on DAF tank unit 2.

- DAF Tank Air Compressors were serviced.

- All 8 pump station generators had their annual service completed.

- Blue white chemical feed pumps were serviced.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – HRG Report

2.  Village Greene- Pump station testing was done.  Repairs are needed.

3.  Honey Brook Estates- No update.

4.  Syncarpha- Project is to begin late summer/early fall.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Maple Inn Estates – HRG Report

7.  WWTP upgrade/PennVest loan-HRG Report.

8.  Keystone Court- No Update.

9.  Zook Molasses/Upward Investments – No update.

10.  West Pump Station/upgrade- HRG Report.

11.  Twin County Business Park- No update.

12.  Arbor Glen –170 EDU’s- HRG Report.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Chester County Solid Waste Authority- No update.

16.  Vernon MacIntyre (3766 Horseshoe Pike) –No update.

17.   Lutheran Church Property – 69 EDUs – Approval for reservation of

capacity was made on a motion from Eric Olsen and seconded by Bill

Kennedy.  Motion carried.

18.   Guinta Property-No Update.

19.   288 Suplee Road – No update

20.   Hammell O’Donnell – 10 Lots –14 EDUs reserved

NEW BUSINESS:

- Mike Kern made a motion for approval of Lenni Electric Corp., for

the lowest bid of $477,857.00, for electrical construction of the West

pump station.  Eric Olsen seconded the motion.  Motion carried.

- Eric Olsen made a motion for approval for Doli Construction Corp.,

for the lowest bid of $3,443,008.00, for general construction of the

West pump station. Mike Kern seconded the motion.  Motion carried.

- The amendment of the lease agreement with the Township for the

property beside the office was approved on a motion made by Mike

Kern and seconded by Eric Olsen.  Motion carried.

- Mike Kern made a motion for approval of Garden Spot Mechanical, Inc.,

for the lowest bid of $350,000.00, for mechanical construction for the

West pump station.  Bill Kennedy seconded the motion.  Motion

carried.

- A motion was made by Mike Kern and seconded by Bill Kennedy to

accept HRG’s proposal for construction administration and inspection

services related to the West pump station.  Motion carried.

- A motion was made by Eric Olsen and seconded by Mike Kern to

approve the Land Development Improvement & Maintenance

Agreement for the West pump station.  Motion carried.

- Mike Kern made a motion to approve the Deed of Consolidation for the

West pump station.  Eric Olsen seconded the motion. Motion carried.

- Eric Olsen made a motion to approve Resolution 2026-2: To revise the

Rules and Regulations for NCCMA for reservation of capacity.  Bill

Kennedy seconded the motion.  Motion carried.

There being no further business to come before the board, a motion was made by Eric Olsen and seconded by Mike Kern to adjourn the meeting at 8:00 PM.

Motion carried.

Respectfully submitted,

Michael Kern
       Secretary