Meeting Minutes of the

Northwestern Chester County Municipal Authority

June 24, 2026

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were:  Mr. Mike Kern, Mr. David Eames, Mr. Matt Halvorsen and Mr. Bill Ford.  Absent: Mr. Eric Olsen and Mr. Bill Kennedy.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer,   and Ms. Stephanie Kern, Administrator.

The minutes of the May 27th, 2026 meeting was approved on a motion made by Bill Ford and Matt Halvorsen.  Motion carried.

The Treasurer's Report for May was approved on a motion made by Mike Kern & Bill Ford.  Motion carried.

PUBLIC COMMENTS:  None

CORRESPONDENCE: The Waynebrook Inn/ Lewis Frame submitted a payment plan for a past due balance.  The payment plan was approved on a motion made by Matt Halvorsen and seconded by Mike Kern.  Motion carried.

ADMINISTRATOR'S REPORT: Stephanie Kern

SOLICITOR’S REPORT:   Kristin Camp-absent

OPERATOR'S REPORT: Derek Ink

- May daily Influent flow averaged 313,000gallons per day. The discharge monitoring report (EDMR) for May was submitted to DEP with no exceptions to the permit.

- Received and responded to 53 Pa one calls.

- Applications:

- JTech and Sweetwater Natural Products for Hammel Odonnell Industrial Park.

- 772 Poplar Road (Delicate Meats)

- Owner of Wagon Way Estates made necessary repairs that were noted in the letter that was sent in April. We plan to install one of our flow meters where their park connects to our main to monitor the parks flow over the next few months.

- Pipe Data View completed 5 repairs on the collection system.

- Chlorine contact tank annual cleaning completed.

- Attended West pump station pre construction meeting, looking like the general contractor plans to move equipment onsite by late August or early September

- Village Greene pumps (2) had lifting eyes on top of motors and cutters replaced, as well as the oil changed.

- Replaced Cupola PLC battery backup.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – HRG Report

2.  Village Greene- HRG Report.

3.  Honey Brook Estates- No update.

4.  Syncarpha- Project is to begin late summer/early fall.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Maple Inn Estates – HRG Report

7.  WWTP upgrade/PennVest loan-HRG Report.

8.  Keystone Court- No Update.

9.  Zook Molasses/Upward Investments – No update.

10.  West Pump Station/upgrade- HRG Report.

11.  Twin County Business Park- No update.

12.  Arbor Glen –170 EDU’s- HRG Report.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Chester County Solid Waste Authority- No update.

16.  Vernon MacIntyre (3766 Horseshoe Pike) –No update.

17.   Lutheran Church Property – HRG Report.

18.   Guinta Property-No Update.

19.   288 Suplee Road – Grinder Pump Agreement needed.

20.   Hammell O’Donnell – 10 Lots –14 EDUs reserved-HRG Report

NEW BUSINESS:

- A motion was made by Matt Halvorsen and seconded Mike Kern to approve

the 2025 audit.  Motion carried.

- A motion was made by Bill Ford and seconded by Matt Halvosen to

approve Arbors Glen/D.R. Horton Inc., Reservation of Capacity

Agreement.  Motion carried.

There being no further business to come before the board, a motion was made by Mike Kern and seconded by Bill Ford to adjourn the meeting at 7:30 PM.

Motion carried.

Respectfully submitted,

Michael Kern
       Secretary