Meeting Minutes of the

Northwestern Chester County Municipal Authority

August 26, 2026

The meeting was called to order by Chairman David Eames at 7:00 PM.

Present for roll call were:  Mr. Mike Kern, Mr. David Eames, Mr. Matt Halvorsen, Mr. Bill Ford, Mr. Eric Olsen and Mr. Bill Kennedy.

Also present were:  Mr. Derek Ink, Operator in Charge, Mr. Alex Bar, Engineer,   Ms. Stephanie Kern, Administrator and Ms. Kristin Camp, Solicitor.

The minutes of the June 24th, 2026 meeting was approved on a motion made by Eric Olsen and Bill Kennedy.  Motion carried.

The Treasurer's Report for June & July was approved on a motion made by Matt Halvorsen & Eric Olsen.  Motion carried.

PUBLIC COMMENTS:  None

CORRESPONDENCE: The Public Improvement Maintenance Bond & Maintenance Security Agreement was received from Village Greene.

ADMINISTRATOR'S REPORT: Stephanie Kern

The 2025 Audit is complete, advertised and uploaded to the Federal Clearing House.

SOLICITOR’S REPORT:   Kristin Camp

OPERATOR'S REPORT: Derek Ink

- Daily Influent flow averaged 276,000 gallons per day in June, and 259,000 gallons in July. The discharge monitoring report (EDMR) for June and July was submitted to DEP with no exceptions to the permit.

- Emergency Callouts:

- July 3, Cupola low level alarm

-July 28, West and Cupola power outage

-August 24, Conestoga high water alarm

- Received and responded to 148 Pa one calls.

- Applications:

- SH Truck Bodies (Westbrook Drive)

- Inspections:

-935 and 937 Chestnut Street (Borough)

-172,176,177,179,181,183 Sycamore Drive (Honey Ridge)

- 208,204 Oakwood Lane (Honey Ridge) 38 of 50 EDU’s purchased

- Staff installed 120v power and internet cable from plant building to plant sign for additional security camera.

- Started experiencing high ph in the polishing pond that was caused from an algae bloom. In order to keep the effluent ph under the ph limit we partially bypassed the polishing lagoon and rerouted flow from the tertiary lagoon to the plant wet well. We believe the cause of this was due to the pulsar algae control unit failing. The unit was not fixable and needed to be replaced with a new one for $6,413.98. Once algae dies and ph levels start to return to normal, flow will be returned to normal operation.

- Plant Upgrade final DEP inspection scheduled for September 3rd. HRG can then begin the closeout process for the PennVest loan.

- West Pump Station Upgrade:

- Waiting on DOLI

- Syncarpha Solar Update:

- Syncarpha is partnering with Solarliberty for the project. They are currently out to bid, and will be selecting a contractor in early September.

- We demoed a wet well wizard aeration unit from Exeter Supply. After a week of being installed in Cupola wet well the grease mat was gone. We think it would be good to add them to our stations.

- Through August we have been pulling manhole lids trying to locate I&I after rain events. Would like to look at replacing our lateral camera and potentially look into cost for our own main line cctv camera.

ENGINEER'S REPORT: Alex Bar

OLD BUSINESS:

1.  Chestnut Ridge – HRG Report

2.  Village Greene- HRG Report.

3.  Honey Brook Estates- No update.

4.  Syncarpha- Project is to begin late summer/early fall.

5.  Mobile Reality 3/UMH/Struble Ridge – No update.

6.  Maple Inn Estates – HRG Report

7.  WWTP upgrade/PennVest loan-HRG Report.

8.  Keystone Court- No Update.

9.  Zook Molasses/Upward Investments – No update.

10.  West Pump Station/upgrade- HRG Report.

11.  Twin County Business Park- No update.

12.  Arbor Glen –170 EDU’s- HRG Report.

13.  Honey Brook Hardware- No update.

14.  Tri County Investment Group-No update.

15.  Chester County Solid Waste Authority- No update.

16.  Vernon MacIntyre (3766 Horseshoe Pike) –No update.

17.   Lutheran Church Property – HRG Report.

18.   Guinta Property-No Update.

19.   288 Suplee Road – Grinder Pump Agreement needed.

20.   Hammell O’Donnell – 10 Lots –14 EDUs reserved-HRG Report

21.   772 Poplar Road – Delicate Meats- Sampling requirements will be

needed along with agreements for those requirements.

NEW BUSINESS:

- A motion was made by Matt Halvorsen and seconded Eric Olsen to approve

the Public Improvement Maintenance Bond and Maintenance Security

Agreement for Village Greene.  Motion carried.

- A motion was made by Mike Kern and seconded by Eric Olsen to not

put the generator in an enclosed building at West Pump Station to reduce

costs of the upgrade. Motion carried.

- The 2025 Budget was reviewed.

- S & H Trucking submitted an application for a building addition and is

requesting an additional 3 EDU’s for additional employees.

There being no further business to come before the board, a motion was made by Mike Kern and seconded by Bill Ford to adjourn the meeting at 8:20 PM.

Motion carried.

Respectfully submitted,

Michael Kern
       Secretary